## Slide 1: CONCRETE CHANNEL
Analysis of the channel was completed for the approximately 2 mile length.
Channel is generally in fair condition
Localized repairs will be required through O&M to maintain safe operation over the next 50 yrs.
Repair locations have been prioritized
The areas posing the most significant risks have been selected for repairs as part of the TSP (Tentatively Selected Plan)
  Wall Repairs
  Center Wall Reinforcement
  Ceiling Span Removal

## Slide 2: Potential Channel Wall Failure

## Slide 3: Concrete channel Wall rehab Otis and Merriam

## Slide 4: Recommended Repair Wall tie back

## Slide 5: Concrete channel rehab by Palouse street and center column wall repair

## Slide 6: Center Wall Column Failure
  Based on inspections the pipe column is not anchored at the top and bottom.
  Analysis assumed column was secured by vertical loads and friction.

## Slide 7: RECOMMENDED center wall repair

## Slide 8: Ceiling removal
City of Walla Walla structural report (Sargent, 2016) shows multiple areas that are in poor condition
Area “A” or Station 135+00
Area “H” or Station 138+00

## Slide 9: Ceiling removal

## Slide 10: Ceiling removal
STATION 135+00 REPAIR

## Slide 11: Ceiling removal Station 138+00